## Sheet1
Mode id | Mode description | Asset type
ACID Card reader issue | ACID Card reader issue | ACID
ACID Configuration | ACID Configuration | ACID
ACID T Connector Issue | ACID T Connector Issue | ACID
CBS Module manufacturing DEFECTS | Module DEFECTS | CBS
FCU Controller | FCU Controller | FCU
FCU Motor | FCU Motor | FCU
FCU PCB | FCU PCB | FCU
FCU Wrong Termination | FCU Wrong Termination | FCU
ICT Programming Issue | ICT Programming Issue | ACID
SEF Fan Motor | SEF Fan Motor | SEXF
ISM Programming Issue | ISM Programming Issue | CCTV
Jockey pump fire alarm activation | Fire Alarm activation frequently | FDS
MCC-Contractor | MCC-Contractor damage | MCC
Loss of communication | Loss of communication | CCTV
UPS Power Damage | UPS Power Damage | UPS
NO DEFECTS_1 | These are not referring to DEFECTS related to the Asset type | AHUS
NO DEFECTS_2 | These are not referring to DEFECTS related to the Asset type | CBS
NO DEFECTS_3 | These are not referring to DEFECTS related to the Asset type | CCTV
NO DEFECTS_4 | These are not referring to DEFECTS related to the Asset type | CHILLER
NO DEFECTS_5 | These are not referring to DEFECTS related to the Asset type | DWS
NO DEFETCS_6 | These are not referring to DEFECTS related to the Asset type | UPS
NO DEFETCS_7 | These are not referring to DEFECTS related to the Asset type | FCU
NO DEFECTS_8 | These are not referring to DEFECTS related to the Asset type | SEXF
NO DEFECTS_9 | These are not referring to DEFECTS related to the Asset type | ACID
NO DEFECTS_11 | These are not referring to DEFECTS related to the Asset type | MISTING
NO DEFECTS_12 | These are not referring to DEFECTS related to the Asset type | TMCS
NO DEFECTS_14 | These are not referring to DEFECTS related to the Asset type | PDP
NO DEFECTS_15 | These are not referring to DEFECTS related to the Asset type | MCC
NO DEFECTS_16 | These are not referring to DEFECTS related to the Asset type | MDB
NO DEFECTS_17 | These are not referring to DEFECTS related to the Asset type | GEN
NO DEFECTS_18 | These are not referring to DEFECTS related to the Asset type | TFDS
NO DEFECTS_19 | These are not referring to DEFECTS related to the Asset type | CPM
NO DEFECTS_22 | These are not referring to DEFECTS related to the Asset type | BMS
NO DEFECTS_26 | These are not referring to DEFECTS related to the Asset type | CWS
NO DEFECTS_27 | These are not referring to DEFECTS related to the Asset type | ELS
NO DEFECTS_28 | These are not referring to DEFECTS related to the Asset type | ES
NO DEFECTS_29 | These are not referring to DEFECTS related to the Asset type | FAN
NO DEFECTS_30 | These are not referring to DEFECTS related to the Asset type | FDS
NO DEFECTS_31 | These are not referring to DEFECTS related to the Asset type | FRCP
NO DEFECTS_32 | These are not referring to DEFECTS related to the Asset type | FS
NO DEFECTS_35 | These are not referring to DEFECTS related to the Asset type | INTERCOM
NO DEFECTS_36 | These are not referring to DEFECTS related to the Asset type | LCS
NO DEFECTS_37 | These are not referring to DEFECTS related to the Asset type | LDP
NO DEFECTS_38 | These are not referring to DEFECTS related to the Asset type | TRAVELATOR