## Sheet1
Asset config id | Location id | Location description | Asset serial number | Asset type | Asset description | Software version | Software description | Asset status
4A1ACID | 4A1 | 4A1 | 4A1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4A1UPS | 4A1 | 4A1 | 4A1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4B1ACID | 4B1 | 4B1 | 4B1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4B1AHUS | 4B1 | 4B1 | 4B1AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
4B1CCTV | 4B1 | 4B1 | 4B1CCTV | CCTV | CCTV - Closed Circuit Television | Not Applicable | Not Applicable | Online
4B1CWS | 4B1 | 4B1 | 4B1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
4B1FAN | 4B1 | 4B1 | 4B1FAN | FAN | FAN - Ventilation Fan | Not Applicable | Not Applicable | Online
4B1FCU | 4B1 | 4B1 | 4B1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4B1FDS | 4B1 | 4B1 | 4B1FDS | FDS | FDS - Fire Detection System | Not Applicable | Not Applicable | Online
4B1INTERCOM | 4B1 | 4B1 | 4B1INTERCOM | INTERCOM | INTERCOM - Inter Communication Unit | Not Applicable | Not Applicable | Online
4B1MCC | 4B1 | 4B1 | 4B1MCC | MCC | MCC - Motor Control Centre | Not Applicable | Not Applicable | Online
4B1PFAN | 4B1 | 4B1 | 4B1PFAN | PFAN | PFAN - Pressurisation Fans System | Not Applicable | Not Applicable | Online
4B1UPS | 4B1 | 4B1 | 4B1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4C1ACID | 4C1 | 4C1 | 4C1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4C1AHUS | 4C1 | 4C1 | 4C1AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
4C1CCTV | 4C1 | 4C1 | 4C1CCTV | CCTV | CCTV - Closed Circuit Television | Not Applicable | Not Applicable | Online
4C1CWS | 4C1 | 4C1 | 4C1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
4C1DWS | 4C1 | 4C1 | 4C1DWS | DWS | DWS - Domestic Water System | Not Applicable | Not Applicable | Online
4C1FCU | 4C1 | 4C1 | 4C1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4C1GEN | 4C1 | 4C1 | 4C1GEN | GEN | GEN - GENERATOR | Not Applicable | Not Applicable | Online
4C1INTERCOM | 4C1 | 4C1 | 4C1INTERCOM | INTERCOM | INTERCOM - Inter Communication Unit | Not Applicable | Not Applicable | Online
4C1MCC | 4C1 | 4C1 | 4C1MCC | MCC | MCC - Motor Control Centre | Not Applicable | Not Applicable | Online
4C1SEXF | 4C1 | 4C1 | 4C1SEXF | SEXF | SEXF - Smoke extraction fan system | Not Applicable | Not Applicable | Online
4C1SFDS | 4C1 | 4C1 | 4C1SFDS | SFDS | SFDS - Sump Force Drainage System | Not Applicable | Not Applicable | Online
4C1UPS | 4C1 | 4C1 | 4C1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4C2ACID | 4C2 | 4C2 | 4C2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4C2CCTV | 4C2 | 4C2 | 4C2CCTV | CCTV | CCTV - Closed Circuit Television | Not Applicable | Not Applicable | Online
4C2FCU | 4C2 | 4C2 | 4C2FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4C2GEN | 4C2 | 4C2 | 4C2GEN | GEN | GEN - GENERATOR | Not Applicable | Not Applicable | Online
4C2ICT LAN | 4C2 | 4C2 | 4C2ICT LAN | ICT LAN | ICT LAN - Local Area Network | Not Applicable | Not Applicable | Online
4C2LDP | 4C2 | 4C2 | 4C2LDP | LDP | LDP - Light Distribution Panel | Not Applicable | Not Applicable | Online
4C2LIFT | 4C2 | 4C2 | 4C2LIFT | LIFT | LIFT / ELEVATOR | Not Applicable | Not Applicable | Online
4C2MISTING | 4C2 | 4C2 | 4C2MISTING | MISTING | MISTING | Not Applicable | Not Applicable | Online
4C2TFDS | 4C2 | 4C2 | 4C2TFDS | TFDS | TFDS - Tunnel Fire Detection System | Not Applicable | Not Applicable | Online
4C2UPS | 4C2 | 4C2 | 4C2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4D1ACID | 4D1 | 4D1 | 4D1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4D1CCTV | 4D1 | 4D1 | 4D1CCTV | CCTV | CCTV - Closed Circuit Television | Not Applicable | Not Applicable | Online
4D1CWS | 4D1 | 4D1 | 4D1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
4D1DWS | 4D1 | 4D1 | 4D1DWS | DWS | DWS - Domestic Water System | Not Applicable | Not Applicable | Online
4D1ES | 4D1 | 4D1 | 4D1ES | ES | ES - Escalator | Not Applicable | Not Applicable | Online
4D1EWH | 4D1 | 4D1 | 4D1EWH | EWH | EWH - Water heater | Not Applicable | Not Applicable | Online
4D1FCU | 4D1 | 4D1 | 4D1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4D1FDS | 4D1 | 4D1 | 4D1FDS | FDS | FDS - Fire Detection System | Not Applicable | Not Applicable | Online
4D1GEN | 4D1 | 4D1 | 4D1GEN | GEN | GEN - GENERATOR | Not Applicable | Not Applicable | Online
4D1INTERCOM | 4D1 | 4D1 | 4D1INTERCOM | INTERCOM | INTERCOM - Inter Communication Unit | Not Applicable | Not Applicable | Online
4D1LDP | 4D1 | 4D1 | 4D1LDP | LDP | LDP - Light Distribution Panel | Not Applicable | Not Applicable | Online
4D1LIFT | 4D1 | 4D1 | 4D1LIFT | LIFT | LIFT / ELEVATOR | Not Applicable | Not Applicable | Online
4D1UPS | 4D1 | 4D1 | 4D1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4E1ACID | 4E1 | 4E1 | 4E1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4E1AHUS | 4E1 | 4E1 | 4E1AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
4E1CBS | 4E1 | 4E1 | 4E1CBS | CBS | CBS - Central Battery System | Not Applicable | Not Applicable | Online
4E1CCTV | 4E1 | 4E1 | 4E1CCTV | CCTV | CCTV - Closed Circuit Television | Not Applicable | Not Applicable | Online
4E1CHILLER | 4E1 | 4E1 | 4E1CHILLER | CHILLER | CHILLER | Not Applicable | Not Applicable | Online
4E1CPM | 4E1 | 4E1 | 4E1CPM | CPM | CPM - Chiller Plant Manager | Not Applicable | Not Applicable | Online
4E1CWS | 4E1 | 4E1 | 4E1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
4E1ES | 4E1 | 4E1 | 4E1ES | ES | ES - Escalator | Not Applicable | Not Applicable | Online
4E1FCU | 4E1 | 4E1 | 4E1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4E1FDS | 4E1 | 4E1 | 4E1FDS | FDS | FDS - Fire Detection System | Not Applicable | Not Applicable | Online
4E1GEN | 4E1 | 4E1 | 4E1GEN | GEN | GEN - GENERATOR | Not Applicable | Not Applicable | Online
4E1INTERCOM | 4E1 | 4E1 | 4E1INTERCOM | INTERCOM | INTERCOM - Inter Communication Unit | Not Applicable | Not Applicable | Online
4E1LIFT | 4E1 | 4E1 | 4E1LIFT | LIFT | LIFT / ELEVATOR | Not Applicable | Not Applicable | Online
4E1UPS | 4E1 | 4E1 | 4E1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4E2ACID | 4E2 | 4E2 | 4E2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4E2FCU | 4E2 | 4E2 | 4E2FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4E2UPS | 4E2 | 4E2 | 4E2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4G1ACID | 4G1 | 4G1 | 4G1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4G1AHUS | 4G1 | 4G1 | 4G1AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
4G1CCTV | 4G1 | 4G1 | 4G1CCTV | CCTV | CCTV - Closed Circuit Television | Not Applicable | Not Applicable | Online
4G1DWS | 4G1 | 4G1 | 4G1DWS | DWS | DWS - Domestic Water System | Not Applicable | Not Applicable | Online
4G1FCU | 4G1 | 4G1 | 4G1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4G1FDS | 4G1 | 4G1 | 4G1FDS | FDS | FDS - Fire Detection System | Not Applicable | Not Applicable | Online
4G1FPUMP (BUILD) | 4G1 | 4G1 | 4G1FPUMP (BUILD) | FPUMP (BUILD) | FPUMP (BUILD) - Fire Pump | Not Applicable | Not Applicable | Online
4G1GEN | 4G1 | 4G1 | 4G1GEN | GEN | GEN - GENERATOR | Not Applicable | Not Applicable | Online
4G1IS | 4G1 | 4G1 | 4G1IS | IS | IS - Irrigation Water System | Not Applicable | Not Applicable | Online
4G1LCS | 4G1 | 4G1 | 4G1LCS | LCS | LCS - Light control System | Not Applicable | Not Applicable | Online
4G1LDP | 4G1 | 4G1 | 4G1LDP | LDP | LDP - Light Distribution Panel | Not Applicable | Not Applicable | Online
4G1MCC | 4G1 | 4G1 | 4G1MCC | MCC | MCC - Motor Control Centre | Not Applicable | Not Applicable | Online
4G1MISTING | 4G1 | 4G1 | 4G1MISTING | MISTING | MISTING | Not Applicable | Not Applicable | Online
4G1SFDS | 4G1 | 4G1 | 4G1SFDS | SFDS | SFDS - Sump Force Drainage System | Not Applicable | Not Applicable | Online
4G1TELEPHONE | 4G1 | 4G1 | 4G1TELEPHONE | TELEPHONE | TELEPHONE | Not Applicable | Not Applicable | Online
4G1TMCS | 4G1 | 4G1 | 4G1TMCS | TMCS | TMCS - Tunnel Monitoring and Control system | Not Applicable | Not Applicable | Online
4G1UPS | 4G1 | 4G1 | 4G1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4G2ACID | 4G2 | 4G2 | 4G2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4G2FCU | 4G2 | 4G2 | 4G2FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4G2UPS | 4G2 | 4G2 | 4G2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
4G3ACID | 4G3 | 4G3 | 4G3ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
4G3FCU | 4G3 | 4G3 | 4G3FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
4G3UPS | 4G3 | 4G3 | 4G3UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
6D2ACID | 6D2 | 6D2 | 6D2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
6D2AHUS | 6D2 | 6D2 | 6D2AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
6D2CCTV | 6D2 | 6D2 | 6D2CCTV | CCTV | CCTV - Closed Circuit Television | Not Applicable | Not Applicable | Online
6D2CHILLER | 6D2 | 6D2 | 6D2CHILLER | CHILLER | CHILLER | Not Applicable | Not Applicable | Online
6D2CWS | 6D2 | 6D2 | 6D2CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
6D2DWS | 6D2 | 6D2 | 6D2DWS | DWS | DWS - Domestic Water System | Not Applicable | Not Applicable | Online
6D2FCU | 6D2 | 6D2 | 6D2FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
6D2FM200 | 6D2 | 6D2 | 6D2FM200 | FM200 | FM200 - Clean Agent Fire Suppression System | Not Applicable | Not Applicable | Online
6D2FS | 6D2 | 6D2 | 6D2FS | FS | FS - Fuel System | Not Applicable | Not Applicable | Online
6D2ICT LAN | 6D2 | 6D2 | 6D2ICT LAN | ICT LAN | ICT LAN - Local Area Network | Not Applicable | Not Applicable | Online
6D2INTERCOM | 6D2 | 6D2 | 6D2INTERCOM | INTERCOM | INTERCOM - Inter Communication Unit | Not Applicable | Not Applicable | Online
6D2LDP | 6D2 | 6D2 | 6D2LDP | LDP | LDP - Light Distribution Panel | Not Applicable | Not Applicable | Online
6D2SEXF | 6D2 | 6D2 | 6D2SEXF | SEXF | SEXF - Smoke extraction fan system | Not Applicable | Not Applicable | Online
6D2UPS | 6D2 | 6D2 | 6D2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
6E1ACID | 6E1 | 6E1 | 6E1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
6E1AHUS | 6E1 | 6E1 | 6E1AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
6E1CBS | 6E1 | 6E1 | 6E1CBS | CBS | CBS - Central Battery System | Not Applicable | Not Applicable | Online
6E1CHILLER | 6E1 | 6E1 | 6E1CHILLER | CHILLER | CHILLER | Not Applicable | Not Applicable | Online
6E1CWS | 6E1 | 6E1 | 6E1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
6E1FAN | 6E1 | 6E1 | 6E1FAN | FAN | FAN - Ventilation Fan | Not Applicable | Not Applicable | Online
6E1FCU | 6E1 | 6E1 | 6E1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
6E1FOMSS | 6E1 | 6E1 | 6E1FOMSS | FOMSS | FOMSS - Foam Suppression System | Not Applicable | Not Applicable | Online
6E1PFC | 6E1 | 6E1 | 6E1PFC | PFC | PFC - PFC System | Not Applicable | Not Applicable | Online
6E1SEXF | 6E1 | 6E1 | 6E1SEXF | SEXF | SEXF - Smoke extraction fan system | Not Applicable | Not Applicable | Online
6E1UPS | 6E1 | 6E1 | 6E1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
6F1ACID | 6F1 | 6F1 | 6F1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
6F1AHUS | 6F1 | 6F1 | 6F1AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
6F1CWS | 6F1 | 6F1 | 6F1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
6F1FCU | 6F1 | 6F1 | 6F1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
6F1FOMSS | 6F1 | 6F1 | 6F1FOMSS | FOMSS | FOMSS - Foam Suppression System | Not Applicable | Not Applicable | Online
6F1SEXF | 6F1 | 6F1 | 6F1SEXF | SEXF | SEXF - Smoke extraction fan system | Not Applicable | Not Applicable | Online
6F1SFDS | 6F1 | 6F1 | 6F1SFDS | SFDS | SFDS - Sump Force Drainage System | Not Applicable | Not Applicable | Online
6F1UPS | 6F1 | 6F1 | 6F1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
6F1VRF | 6F1 | 6F1 | 6F1VRF | VRF | VRF - Variable refrigerant flow System | Not Applicable | Not Applicable | Online
6G1ACID | 6G1 | 6G1 | 6G1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
6G1CWS | 6G1 | 6G1 | 6G1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
6G1FAN | 6G1 | 6G1 | 6G1FAN | FAN | FAN - Ventilation Fan | Not Applicable | Not Applicable | Online
6G1FCU | 6G1 | 6G1 | 6G1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
6G1MCC | 6G1 | 6G1 | 6G1MCC | MCC | MCC - Motor Control Centre | Not Applicable | Not Applicable | Online
6G1PDP | 6G1 | 6G1 | 6G1PDP | PDP | PDP - Power Distribution Panels | Not Applicable | Not Applicable | Online
6G1SEXF | 6G1 | 6G1 | 6G1SEXF | SEXF | SEXF - Smoke extraction fan system | Not Applicable | Not Applicable | Online
6G1UPS | 6G1 | 6G1 | 6G1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
6G2ACID | 6G2 | 6G2 | 6G2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
6G2AHUS | 6G2 | 6G2 | 6G2AHUS | AHUS | AHUS - Air Handling Unit System | Not Applicable | Not Applicable | Online
6G2CWS | 6G2 | 6G2 | 6G2CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
6G2DWS | 6G2 | 6G2 | 6G2DWS | DWS | DWS - Domestic Water System | Not Applicable | Not Applicable | Online
6G2FCU | 6G2 | 6G2 | 6G2FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
6G2GEN | 6G2 | 6G2 | 6G2GEN | GEN | GEN - GENERATOR | Not Applicable | Not Applicable | Online
6G2MCC | 6G2 | 6G2 | 6G2MCC | MCC | MCC - Motor Control Centre | Not Applicable | Not Applicable | Online
6G2SEXF | 6G2 | 6G2 | 6G2SEXF | SEXF | SEXF - Smoke extraction fan system | Not Applicable | Not Applicable | Online
6G2SFDS | 6G2 | 6G2 | 6G2SFDS | SFDS | SFDS - Sump Force Drainage System | Not Applicable | Not Applicable | Online
6G2UPS | 6G2 | 6G2 | 6G2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
6H1ACID | 6H1 | 6H1 | 6H1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
6H1AIC | 6H1 | 6H1 | 6H1AIC | AIC | AIC - Air Curtain | Not Applicable | Not Applicable | Online
6H1CWS | 6H1 | 6H1 | 6H1CWS | CWS | CWS - Chilled Water System | Not Applicable | Not Applicable | Online
6H1FCU | 6H1 | 6H1 | 6H1FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
6H1FPUMP (BUILD) | 6H1 | 6H1 | 6H1FPUMP (BUILD) | FPUMP (BUILD) | FPUMP (BUILD) - Fire Pump | Not Applicable | Not Applicable | Online
6H1FS | 6H1 | 6H1 | 6H1FS | FS | FS - Fuel System | Not Applicable | Not Applicable | Online
6H1SFDS | 6H1 | 6H1 | 6H1SFDS | SFDS | SFDS - Sump Force Drainage System | Not Applicable | Not Applicable | Online
6H1UPS | 6H1 | 6H1 | 6H1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
6H2ACID | 6H2 | 6H2 | 6H2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
6H2FPUMP (BUILD) | 6H2 | 6H2 | 6H2FPUMP (BUILD) | FPUMP (BUILD) | FPUMP (BUILD) - Fire Pump | Not Applicable | Not Applicable | Online
6H2MCC | 6H2 | 6H2 | 6H2MCC | MCC | MCC - Motor Control Centre | Not Applicable | Not Applicable | Online
6H2TVF | 6H2 | 6H2 | 6H2TVF | TVF | TVF - Tunnel Ventilation Fans | Not Applicable | Not Applicable | Online
6H2UPS | 6H2 | 6H2 | 6H2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
C&C6.1MISTING | C&C6.1 | C&C6.1 | C&C6.1MISTING | MISTING | MISTING | Not Applicable | Not Applicable | Online
D4_ADMINBUILDINGFCU | D4_ADMINBUILDING | D4_ADMINBUILDING | D4_ADMINBUILDINGFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4_ADMINBUILDINGUPS | D4_ADMINBUILDING | D4_ADMINBUILDING | D4_ADMINBUILDINGUPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
D4_ENERGYBUILDINGFCU | D4_ENERGYBUILDING | D4_ENERGYBUILDING | D4_ENERGYBUILDINGFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4_ENERGYBUILDINGUPS | D4_ENERGYBUILDING | D4_ENERGYBUILDING | D4_ENERGYBUILDINGUPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
D4_SBBFCU | D4_SBB | D4_SBB | D4_SBBFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4_SEQBUILDINGFCU | D4_SEQBUILDING | D4_SEQBUILDING | D4_SEQBUILDINGFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4_SSFCU | D4_SS | D4_SS | D4_SSFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4_WASHPLANTFCU | D4_WASHPLANT | D4_WASHPLANT | D4_WASHPLANTFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4_WAYSIDEBUILDFCU | D4_WAYSIDEBUILD | D4_WAYSIDEBUILD | D4_WAYSIDEBUILDFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4_WAYSIDEBUILDUPS | D4_WAYSIDEBUILD | D4_WAYSIDEBUILD | D4_WAYSIDEBUILDUPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
D4_WKSHOPFCU | D4_WKSHOP | D4_WKSHOP | D4_WKSHOPFCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
D4ACID | D4 | D4 | D4ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ES00ACID | ES00 | ES00 | ES00ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ES08ACID | ES08 | ES08 | ES08ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ES20FCU | ES20 | ES20 | ES20FCU | FCU | FCU - Fan Coil Unit | Not Applicable | Not Applicable | Online
ES26ACID | ES26 | ES26 | ES26ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ES26LDP | ES26 | ES26 | ES26LDP | LDP | LDP - Light Distribution Panel | Not Applicable | Not Applicable | Online
ES27ACID | ES27 | ES27 | ES27ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ITPS4.1ACID | ITPS4.1 | ITPS4.1 | ITPS4.1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ITPS4.1UPS | ITPS4.1 | ITPS4.1 | ITPS4.1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
ITPS4.2ACID | ITPS4.2 | ITPS4.2 | ITPS4.2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ITPS4.2UPS | ITPS4.2 | ITPS4.2 | ITPS4.2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
ITPS4.3ACID | ITPS4.3 | ITPS4.3 | ITPS4.3ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ITPS4.3UPS | ITPS4.3 | ITPS4.3 | ITPS4.3UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
ITPS4.4ACID | ITPS4.4 | ITPS4.4 | ITPS4.4ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ITPS4.4UPS | ITPS4.4 | ITPS4.4 | ITPS4.4UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
ITPS6.1ACID | ITPS6.1 | ITPS6.1 | ITPS6.1ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
ITPS6.1UPS | ITPS6.1 | ITPS6.1 | ITPS6.1UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
ITPS6.1VRF | ITPS6.1 | ITPS6.1 | ITPS6.1VRF | VRF | VRF - Variable refrigerant flow System | Not Applicable | Not Applicable | Online
PR4.3ACID | PR4.3 | PR4.3 | PR4.3ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
PR4.3UPS | PR4.3 | PR4.3 | PR4.3UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
PR6.2ACID | PR6.2 | PR6.2 | PR6.2ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
PR6.2UPS | PR6.2 | PR6.2 | PR6.2UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
PR6.4ACID | PR6.4 | PR6.4 | PR6.4ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online
PR6.4UPS | PR6.4 | PR6.4 | PR6.4UPS | UPS | UPS - Uninterrupted Power Supply System | Not Applicable | Not Applicable | Online
VS27ACID | VS27 | VS27 | VS27ACID | ACID | ACID - Access Control and Intrusion Detection System | Not Applicable | Not Applicable | Online