## Sheet1
Failure id | Asset type | Asset config id | Event description | Mode id | Date | Time | Detection | Service delay | Immediate investigation | Failure type | Safety failure | Hazard id | Cm description | Replaced asset config id | Cm start date | Cm start time | Cm end date | Cm end time | Oem failure reference | defect
L4-4C1-7559056259 | ACID | 4C1ACID | Door not opening with card |  | 2022-11-21 | 08:00:02 | Alarm not indicated in scada/ACID system, lead to physical inspection of failure indentification | 0 | Door not opening with card | Software | No | N/A | Informed ICT team to rectify |  | 2023-03-02 | 8:00:00 | 02-03-2023 | 9:00