## Sheet1
Failure id | Asset type | Asset config id | Event description | Mode id | Date | Time | Detection | Service delay | Immediate investigation | Failure type | Safety failure | Hazard id | Cm description | Replaced asset config id | Cm start date | Cm start time | Cm end date | Cm end time | Oem failure reference | defect
L4-4C1-7559056259 | ACID | 4C1ACID | DPR room door is not closing due to acid problem |  | 2023-02-26 | 08:00:01 | Alarm indicated in Scada/ACID System | 0 | DPR room door is not closing due to acid problem | Hardware | No | N/A | Instructed ICT team to rectify the door |  | 2023-02-06 | 8:00:00