## Sheet1
Failure id | Asset type | Asset config id | Event description | Mode id | Date | Time | Detection | Service delay | Immediate investigation | Failure type | Safety failure | Hazard id | Cm description | Replaced asset config id | Cm start date | Cm start time | Cm end date | Cm end time | Oem failure reference | defect
L4-4D1-00010 | ICT | AC-4D1-CL-007 | ACID Door(ACCL-007) Required Configuration |  | 44958 | 8:00 | Found in SCADA Alarms | N/A | Required Configuration | Software | No | N/A | Informed ICT team to rectify acid door
L4-4E1-00016 | ICT | AC-4E1-CL-007 | Acid doors are offline |  | 44958 | 8:00 | Found alarm in Scada, lead to inspection of failure identification | N/A | Acis doors are offline | Software | No | N/A | Informed ICT team to rectify |  | 2023-02-14 | 8:00 | 2023-02-14 | 15:00
L4-4E1-00018 | ICT | AC-4E1-CL-010 | Not working with access card |  | 44959 | 9:00 | Physical inspection lead to the failure identification | N/A | Programming Issue | Software | No | N/A | Informed ICT team to rectify |  | 2023-02-18 | 9:00 | 2023-02-18 | 14:00
L4-4E1-00021 | ICT | AC-4E1-CL-011 | Acid door access have no power but still appearing online in ACID system |  | 44963 | 8:00 | Physical inspection lead to the failure identification | N/A | Programming Issue | Software | No | N/A | Informed ICT team to rectify |  | 2023-02-08 | 8:00 | 2023-02-08 | 15:00
L4-4E1-00025 | ICT | AC-4E1-CL-001 | Not working with access card |  | 44978 | 7:00 | Physical inspection lead to the failure identification | N/A | Programming Issue | Software | No | N/A | Informed ICT team to rectify
L4-4E1-00026 | ICT | AC-4E1-BL-004 | Door lock hardware issue |  | 44980 | 7:00 | Found alarm in ACID, lead to inspection of failure identification | N/A | Hard ware issue | Hardware | No | N/A | Informed Archi team to rectify